## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2012 Examinations

Programme: Electrical Engg.

Subject: Distribution & Estimation(4108)

# Time Duration: 3 Hrs.                                                Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | State advantages and disadvantages of AC transmission over DC transmission. |  |
| b) | State the factors to be taken into consideration while selecting size of distributor. |  |
| c) | Briefly explain what do you mean by ABC system for rural electrification. |  |
| d) | List the methods to improve earth resistance. |  |
| e) | Draw a neat circuit diagram for godown wiring. |  |
| f) | Mention any three important points about motor installation wiring. |  |
| g) | Where will you use following types of guy and why? (i) wind guy (ii) strut guy. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Compare radial, ring and interconnected system on the basis of load reliability of supply and economy. |  |
| b) | Explain SWER wire system with its advantages and disadvantages. |  |
| c) | Explain the various types of faults in distribution system and their effects on system. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | A single phase two wire feeder, 1500m long, supplies a load of 60A at 0.8 p.f., 40A at 0.85 p.f. and 50A at 0.88 p.f. at a distance of 600, 1200 and 1500m respectively from the feeding point. The resistance and reactance of the feeder per km length are 0.06 and 0.1( respectively. If voltage at far end is to be maintained at 220V, calculate the voltage at sending end. |  |
| b) | Explain the terms connected load, demand factor and diversity factor. |  |
| c) | List different components of distribution line and state function of each component. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Estimate the main material requirement for a 750m, 415/240V three phase four wire system in vertical configuration. The lines emanate from a substation to feed a load of 30 KW. Take span between two poles as 50m. The size of conductor is ACSR 6/1 x 2.59mm (code weasel) and weighs 128 Kg/Km. |  |
| b) | Discuss the advantages, disadvantages and applications of PVC casing capping wiring. |  |
| c) | Explain with a neat diagram plate earthing. |  |

………2/-

-2-

| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| --- | --- | --- |
| a) | State any six general rules for internal wiring. |  |
| b) | A hall is to be fitted with 10 lamps (100 watts) and 4 ceiling fans (60 watts). Dimension of the hall is 15m x 6m x 4.5m. Draw a simple layout showing location of fans, tubes, distribution board and switch board. Estimate the size and rating of cable, main board, distribution board and number of sub circuits required. |  |
| c) | Write a short note on MCB. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Two ac 3( 400V, 50Hz squirrel cage induction motors rated 15 Hp and 10Hp are to be installed in a workshop. Determine size of cables required, rating of main switch and motor switch required. Draw a single line diagram for the same. |  |
| b) | Give different methods for reducing earth resistance of a system. |  |
| c) | Draw a neat wiring diagram for subcircuit consisting of two lamps and 1 fan. |  |

***********